## TLS SCHEDULE
CATEGORY | MANUFACTURER | PART NUMBER | LUMENS | WATTS | COLOR TEMP | DESCRIPTION
BOLLARD | GARDCO | BRM832-42-108L-58-NW-G2-VOLTAGE-OPTIONS-FINISH | 1053 - 1226 1226 | 38.6 - 41.4 38.6 | 4000K | BOLLARD WITH GALVANIZED TENON
CLEANROOM | DAY-BRITE | KLEENSEAL - K1-24-130L-840-G-6-AP3-U-OPTIONS | 4000 - 13000 13000 | 41 - 132 132 | 4000K | CLEANROOM
CONTROLS | DOUGLAS | RELAY PANEL - LITEPAK2 |  |  |  | COMMERCIAL RELAY PANEL - UP TO 48 RELAYS WITH 0-10V DIMMING
CONTROLS | DOUGLAS | ROOM CONTROLLER - DIALOG |  |  |  | ROOM CONTROLLER - UP TO 6 RELAYS WITH 0-10V DIMMING AND UL-924
CONTROLS | DOUGLAS | CONTROLS - DIVERSA |  |  |  | 24V CONTROLS USING WP-PP POWER PACKS, WOS/WOW OCC. SENSORS
CONTROLS | TOUCHÉ | MASTER INTERFACE - MSTR-DVOLT-S2 | - | - | - | ROOM CONTROLLER PRODUCT OVERVIEW AND REFERENCE GUIDE
CONTROLS | TOUCHÉ | BRANCH SPLITTER / BOOSTER - SBB-1 | - | - | - | CENTRALIZED SYSTEM PRODUCT OVERVIEW AND REFERENCE GUIDE
CONTROLS | TOUCHÉ | TOUCHSCREEN COLOR WALLSTATION - WS-TS-C-FINISH
CONTROLS | TOUCHÉ | TOUCHSCREEN WALLSTATION - SW-TS-M
CONTROLS | TOUCHÉ | OCCUPANCY / DAYLIGHT SENSOR - SMAOS-(P or D)-(A or 360L or 360H)-(S or F)
CONTROLS | TOUCHÉ | OCCUPANCY SENSOR SWITCH - SW-O-(P or D)-FINISH-S2
CONTROLS | TOUCHÉ | OCCUPANCY SENSOR REPEATER - SDO-OR
CONTROLS | TOUCHÉ | DMX COMMUNICATON INTERFACE - CI-DMX
CONTROLS | TOUCHÉ | RELAY DIMMER PANEL / 48 POLE - RD-48
CONTROLS | TOUCHÉ | RELAY DIMMER PANEL / 32 POLE - RD-32
CONTROLS | TOUCHÉ | RELAY PANEL / MODULE WIRING DIAGRAMS
CONTROLS | UBICQUIA | STREETLIGHT PHOTOCELL REPLACEMENT - UBICELL
CYLINDER | VANTAGE | VDL412-MOUNTING-U-13-40K-WE-FINISHES | 700 - 2000 1300 | 7 - 21 14 | 4000K | 4.5"X12" ROUND CYLINDER
CYLINDER | ALW | AP-V-07-80-44-NN-FINISH-SUSPENSION-OPTIONS | 7000 - 13000 7000 | 48 - 101 48 | 4000K | 6.6"X18" ROUND CYLINDER
DOWNLIGHT | LIGHTOLIER | CALCULITE 3" GEN 3 - 3R-N / C3L-10-840-M-Z10-U / C3-R-DL-CD-P / ACCESSORIES | 1000 - 1800 1000 | 7 - 20 13.6 | 4000K | 3" OPEN ARCHITECTURAL DOWNLIGHT CLEAR DIFFUSE REFLECTOR
DOWNLIGHT | LIGHTOLIER | LYTEPROFILE 4" -4R-N / P4R-DL-10-840-CD-P-Z10-U | 1000 - 2500 1000 | 7 - 27 11 | 4000K | 4" OPEN COMMERCIAL DOWNLIGHT CLEAR DIFFUSE REFLECTOR
DOWNLIGHT | LIGHTOLIER | CALCULITE 6" GEN 3 - 6R-N / C6L-20-840-M-Z10-U / C6-R-DL-CD-P / ACCESSORIES | 1000 - 6000 2000 | 9 - 57 19 | 4000K | 6" OPEN ARCHITECTURAL DOWNLIGHT CLEAR DIFFUSE REFLECTOR
DOWNLIGHT | LIGHTOLIER | LYTEPROFILE 6" -6R-N / P6R-DL-20-840-CD-P-Z10-U | 1000 - 3500 2000 | 10 - 37 21 | 4000K | 6" OPEN COMMERCIAL DOWNLIGHT CLEAR DIFFUSE REFLECTOR
DOWNLIGHT | VANTAGE | V6OFCR-U-20-F6060-SGC-OPTIONS | 750 - 5000 2000 | 9 - 58 26 | 4000K | 6" OPEN COMMERCIAL DOWNLIGHT CLEAR DIFFUSE REFLECTOR
DOWNLIGHT | VANTAGE | A6VOFLEDES-U-20-40K-W6060-SGC-OPTIONS | 750 - 5000 2000 | 9 - 57 27 | 4000K | 6" OPEN SPECIFICATION DOWNLIGHT SOFT GLOW REFLECTOR
EMERGENCY | EXITRONIX | ILX-R-EM-WH |  |  |  | THERMOPLASTIC UNIVERSAL EXIT - RED LETTERS, EMERGENCY BATTERY AND WHITE HOUSING
EMERGENCY | EXITRONIX | VLEDC-51-WH |  |  |  | THERMOPLASTIC UNIVERSAL EXIT COMBO - 18' OC - RED LETTERS, EMERGENCY BATTERY AND WHITE HOUSING
EMERGENCY | EXITRONIX | VLEDC-51-WH-R4 / 2RL1-WP |  |  |  | THERMOPLASTIC UNIVERSAL EXIT COMBO - 18' OC - RED LETTERS, EMERGENCY BATTERY, WHITE HOUSING, REMOTE CAPACITY AND EXTERIOR DUAL REMOTE HEADS
EMERGENCY | EXITRONIX | LED-95-WH |  |  |  | EMERGENCY LIGHT - 25' OC
EMERGENCY | EXITRONIX | NFT-W |  |  |  | EMERGENCY LIGHT - 70' OC
EMERGENCY | EXITRONIX | S900 SERIES | - | - | - | UNIVERSAL EDGE-LIT EXIT SIGN
EMERGENCY | EVENLITE | ELCD-924-FD |  |  |  | UL924 TRANSFER DEVICE
EMERGENCY | EVENLITE | ELCD-1008 |  |  |  | UL1008 TRANSFER DEVICE
EXTERIOR AREA | GARDCO | FIXTURE - P26-64L-800-NW-G2-AR-3-UNV-TLRD7-BZ POLE - SSA5-25-D1-BRP Control - CityTouch LLC7290/00 Wireless Control Node | 20383 | 134 | 4000K | CLEMSON STANDARD PARKING & ROADWAY
EXTERIOR AREA | GARDCO | FIXTURE - P26-140L-1150-NW-G2-AR-3-UNV-TLRD7-BZ POLE - SSA4-14-D1-BRP Control - CityTouch LLC7290/00 Wireless Control Node | 20383 | 134 | 4000K | CLEMSON STANDARD PEDESTRIAN COMFORT OPTICS
EXTERIOR AREA | VISIONAIRE | VSX-II-T5LS-20L-4K-UNV-AM-FINISH-OPTIONS | 5000 - 25000 20000 | 34 - 167 134 | 4000K | AREA - SMALL
FLAT PANEL | TRACE-LITE | LPA22-30-4000K | 3815 | 30 | 4000K | 2'x2' FLAT PANEL
FLAT PANEL | TRACE-LITE | LPA24-40-4000K | 5076 - 7310 5076 | 40 - 60 40 | 4000K | 2'x4' FLAT PANEL
FLAT PANEL | DAY-BRITE | FLUXPANEL 2X2 - 2FPZ-30L-840-2-DS-UNV-DIM-OPTIONS | 2000 - 4500 3000 | 16 - 36 23 | 4000K | 2'x2' FLAT PANEL
FLAT PANEL | DAY-BRITE | FLUXPANEL 2X4 - 2FPZ-54L-840-4-DS-UNV-DIM-OPTIONS | 1500 - 6000 5400 | 12 - 47 42 | 4000K | 2'x4' FLAT PANEL
FLOOD | GARDCO | CLEARSCAPE - CSFS-32L-1A-NW-G1-SF-DIST-UNV-OPTIONS-FINISH | 2000 - 10000 10000 | 20 - 109 109 | 4000K | ARCHITECTURAL FLOOD - SMALL
FLOOD | GARDCO | CLEARSCAPE - CSFM-64L-1A-NW-G1-SF-DIST-UNV-OPTIONS-FINISH | 9000 - 20000 20000 | 80 - 213 213 | 4000K | ARCHITECTURAL FLOOD - MEDIUM
HIGH BAY | DAY-BRITE | FBX-24L-L-40-UNV-OPTIONS | 8000 - 72000 24000 | 61 - 496 178 | 4000K | HIGH BAY
HIGH BAY | ORION | HBHS1-E1-OA-UNV-FDXX-840-LFA-HW-OPTIONS | 12000 - 39000 24000 | 134 - 286 145 | 4000K | HIGH BAY
LINEAR I/D | ALX | SP4S SERIES | REFER TO CUT-SHEET |  |  | INDIRECT / DIRECT EXTRUDED LINEAR SUSPENDED LUMINAIRE
LINEAR I/D | LEDALITE | FLOATPLANE - 24-G5-L-A-C-A-A-RUN LENGTH-7-D-E-FINISH-OPTION-SENSOR-MOUNTING-SUSPENSION | 3200 - 6200 4500 4FT | 24.8 - 49.6 35.5 | 4000K | INDIRECT / DIRECT LINEAR SUSPENDED LUMINAIRE
PARKING GARAGE | GARDCO | SOFTVIEW - SVPG-140L-1200-NW-G2-SM-DIST-UNV-OPTIONS | 2000 - 9000 5500 | 22 - 95 54 | 4000K | PARKING GARAGE
RETROFIT DOWNLIGHT | ATLANTIC | LED-RETRO-DFX11-4K-U-SS-PF | 1100 - 3000 1100 | 11 - 27 11 | 4000K | 6" OPEN RETRO-FIT DOWNLIGHT SEMI-SPECULAR REFLECTOR
RETROFIT TROFFER | ORION | LDR-050L-L-UNV-FDX-840-24-3P-FL-M-ST | 4000 - 5000 5000 | 36 - 48 48 | 4000K | 2'x4' RETRO-FIT TROFFER
RETROFIT TROFFER | ORION | LDR-040L-L-UNV-FDX-840-22-3P-FL-M-ST | 4000 - 5000 4000 | 36 - 48 36 | 4000K | 2'x2' RETRO-FIT TROFFER
STRIP | DAY-BRITE | FLUXSTREAM - FSS-4-40L-840-UNV-DIM | 3000 - 7000 4000 | 26 - 58 31 | 4000K | STRIP
SURFACE MOUNT | DAY-BRITE | CUBELITE - CSW-48-28-40-U-DZT-ZO | 2800 - 4700 2800 | 31 - 52.1 31 | 4000K | GENERAL 4' SURFACE MOUNT / VANITY
TROFFER | DAY-BRITE | EVOGRID 2X2 - 2EV-G-30L-840-2-D-UNV-DIM-OPTIONS | 3000 - 4500 3000 | 25 - 37 25 | 4000K | 2'x2' TROFFER
TROFFER | DAY-BRITE | FLUXGRID 2X2 - 2FG-G-30L-840-2-D-UNV-DIM-OPTIONS | 3000 - 4500 3000 | 27.1 - 44.6 27.1 | 4000K | 2'x2' TROFFER
TROFFER | DAY-BRITE | EVOGRID 2X4 - 2EV-G-54L-840-4-D-UNV-DIM-OPTIONS | 3800 - 7400 5400 | 37 - 67 46 | 4000K | 2'x4' TROFFER
TROFFER | DAY-BRITE | FLUXGRID 2X4 - 2FG-G-54L-840-4-D-UNV-DIM-OPTIONS | 3800 - 7400 5400 | 31.8 - 69.2 49 | 4000K | 2'x4' TROFFER
VANDAL RESISTANT | DAY-BRITE | LPL-R-4L45-40K-UNV-F1-OPTIONS | 2800 - 3500 3200 | 30 - 53 45 | 4000K | VANDAL RESISTANT
VAPOR TIGHT | DAY-BRITE | VAPORLUME - DW-L-E-43L-840-4-UNV | 3500 - 7000 4300 | 32 - 65 38 | 4000K | IP65 VAPOR TIGHT FIXTURE